How CO₂ Levels Change Indoors:
Carbon dioxide (CO₂) levels in indoor environments fluctuate based on various factors, primarily related to human activity, ventilation, and building design.

- Human Respiration:

  - People exhale CO₂, so levels increase in crowded or poorly ventilated spaces.

  - Higher occupancy (e.g., offices, classrooms) leads to quicker CO₂ buildup.

- Ventilation & Airflow:

  - Good ventilation (open windows, mechanical systems) keeps CO₂ levels lower.

  - Poor ventilation traps CO₂, leading to higher concentrations.

- Building Design & HVAC Systems:

  - Energy-efficient buildings with airtight designs can accumulate CO₂ without proper ventilation.

  - Air conditioning and filtration systems help regulate CO₂ and overall air quality.

- External Air Quality:

  - Outdoor CO₂ levels (~400-450 ppm) influence indoor air when windows or ventilation systems bring in fresh air.

  - In urban areas, vehicle emissions can contribute to elevated indoor CO₂ levels.

Impact on Indoor Air Quality & Health:

- Low CO₂ (400–800 ppm): Normal indoor levels, with no noticeable effects.

- Moderate CO₂ (800–1,500 ppm): Can cause mild drowsiness and reduced concentration.

- High CO₂ (1,500+ ppm): Leads to headaches, fatigue, and impaired cognitive function.

- Very High CO₂ (5,000+ ppm): Prolonged exposure can be harmful and unsafe.

How to Manage CO₂ Indoors:

- Increase natural ventilation (open windows, use vents).

- Use mechanical ventilation or air purifiers in enclosed spaces.

- Monitor CO₂ with indoor air quality sensors to track levels in workplaces, schools, and homes.

- Introduce plants (e.g., pothos, snake plants) to help with air circulation, though they have a minimal effect on CO₂ removal.

Managing CO₂ levels is key to maintaining good indoor air quality and ensuring a healthy, productive environment.